## FRM-33-12 -SAE
Adverse Events and Device Deficiency Sheet Study ID: H-34
Adverse Events | [14 empty] | COMMUNICATION TO PMS |  | PMS feedback
Patient ID | Onset date | End date | Description | Seriousness | Outcome | Maximum intensity | Therapy medication | Device relationship for PI | Medical device information | Notes | Relationship to Procedure | Expectdness | Status | Initial / Follow-up | communicated to PMS | if Yes, date | Date of reply | Device relationship for PMS dept | Relationship to Procedure for PMS Dept | Complaint | Further evaluation performed | Final decision/communication on relationship and expectdness
101/09 | 2021-12-01 | 2021-12-10 | Early postoperative cup loosening. Probable cause is technical mistake at first operation with Delta Revision implantation. Too proximal cup implantation and not sufficient cup hook stablization at the ischial bone. Second cause could be wrong position of stable stem, various position in femur. | Seriousness | Ongoing | Severe | None | not related | Delta Revision Cup, Hemispherical module, Bone screw, insert have been removed | Revision surgery with cup and stem removal. Reimplantation Trident Multihole cup with augment and Restoration stem | not related | N/A | Valid | Initial and final | SAE has been communicated to PMS | 2021-12-09 | 2021-12-10
|  |  |  | Role: | Date: | Signature:
|  |  | Written by: Lisa Ciuffarin | AJCL
|  |  | Approved by: Federica Azzimonti | RMCL

## FRM 33-12 - DEVICE DEFICIENCY
Adverse Events and Device Deficiency Sheet Study ID: H-34
Device Deficiency
Patient ID | Onset date | Name of medical device | Components | Classification of deficiency | Description of deficiency and action taken | Could the deficiency have led to a SAE? | Notes | Initial/Follow-up | Clinical Dept.Revision | Date of communication to PMS | Date of PMS reply | PMS feedback
|  |  |  | Role |  | Requested to:
|  |  | Written by: Lisa Ciuffarin | AJCL
|  |  | Approved by: Federica Azzimonti | RMCL