## FRM-33-12 -AE new limes form
Adverse Events and Device Deficiency Sheet Study ID: H-34 Q1 2022
Adverse Events
Patient ID |  | Report type | Initial Report Date | Report Date | Date of Onset | Date of Study Team Aware | Time team became aware (24 hr clock) | Title of clinical study | Protocol ID | Name of the healthcare facility | Name of the Principal Investigator | Name of the medical device involved | Components involved | ID number of study subject | Age | Gender | Attribution within the clinical investigation | Adverse Event (diagnosis, if known, or signs/ symptoms) | Event narrative | Admission date (dd/mmm/yyyy) | Discharge date (dd/mmm/yyyy) | Classification of the adverse event | Outcome of the event | Relevant concomitant drugs and date of administration | Detail all possible and suspected causes including relevant medical history | Current clinical status | Severity | Causality: relationship to study medical device | Causality: relationship to study procedure | Expectedness | Action taken | Detailed treatment | Was the device permanently removed? | Attachments: Relevant Medical History | Attachments: Relevant Medical Records | Attachments: Laboratory Results | Attachments: Imaging Methods (e.g., X-ray, CT-scan) | Attachments: Other | Submitter | Name of submitter | Notes | Status | Initial / Follow-up | communicated to PMS | if Yes, date | Date of reply | Device relationship for PMS dept | Relationship to Procedure for PMS Dept | Complaint | Further evaluation performed | Final decision/communication on relationship and expectdness
101 | 9 | Initial & Final | 2021-12-07 | 2021-12-07 | 2021-12-01 | 2021-12-01 | 08:00 | DELTA Revision study | H-34 | Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | Jerzy Białecki | Delta Revision Cup | Delta Revision Cup, Hemispherical module, Bone screws, insert | 101 - 9 | 60 | Male | Treatment Group | Cup loosening | Early postoperative cup loosening, | 19-Nov-2021 | 19-Nov-2021 | Medical or surgical intervention required to prevent any of the above | Ongoing | None | Probable cause is technical mistake at first operation with Delta Revision implantation. Too proximal cup implantation and not sufficient cup hook stabilization at the ischial bone. Second cause could be wrong position of stable stem, various position in femur. | Patient undergone revision surgery at 2021-12-03, with cup and stem reimplantation. | Severe | Not Related | Not Related | N/A | Not pharmacological | Revision surgery with cup and stem removal. Reimplantation Trident Multihole cup with augment and Restoration stem. | Yes | None | None | None | Available | None | Investigator | Pawel Bartosz | N/A | Valid | Initial | Yes | 2021-12-09 | 2021-12-10
101 | 10 | Initial | 2022-01-19 | 2022-01-19 | 2022-01-14 | 2022-01-14 | 08:51 | DELTA Revision study | H-34 | Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | Jerzy Białecki | N/A | N/A | 101 - 10 | 76 | Male | Treatment Group | Dyspnoea, fluid collection in lungs | Chronic heart failure exacerbation | 30-Dec-2021 | 30-Dec-2021 | Hospitalization or prolongation of hospitalization | Ongoing | Furosemid 40mg 2xday from 14.01.2022. | Chronic heart failure | Good | Moderate | Not Related | Not Related | N/A | Pharmacological |  | No | None | None | None | None | None | Investigator | Pawel Bartosz | N/A | Draft | Initial | No
101 | 5 | Initial | 2022-02-03 | 2022-02-03 | 2021-10-20 | 2021-10-20 | 00:00 | DELTA Revision study | H-34 | Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | Jerzy Białecki | Revision Hip /Anca | Stem17mm/200mm | 101 - 5 | 76 | Female | Treatment Group | Intraoperative fracture of femur shaft | The femur shaft was weakened beacuse of previous use of metal loop; | 18-Oct-2021 | 27-Oct-2021 | Hospitalization or prolongation of hospitalization | Ongoing | NA | The femur shaft was weakened beacuse of previous use of metal loop; 25 years ago THA of both hips, 2011- revision of right hipEcofit; | On the first control visit 22 Nov 2021 patient is walking with 2 crutches; | Severe | Not Related | Not Related | Anticipated | Other intraoperative reduction and fixation of the fracture |  | No | None | None | None | None | None | Investigator | Julia Macias | N/A | Draft | Initial | No
|  |  |  | Role: | Date: | Signature:
|  |  | Written by: Lisa Ciuffarin | AJCL
|  |  | Approved by: Federica Azzimonti | RMCL

## FRM 33-12 - DEVICE DEFICIENCY
Adverse Events and Device Deficiency Sheet Study ID: H-34 Q1 2022
Device Deficiency
Patient ID | Onset date | Name of medical device | Components | Classification of deficiency | Description of deficiency and action taken | Could the deficiency have led to a SAE? | Notes | Initial/Follow-up | Clinical Dept.Revision | Date of communication to PMS | Date of PMS reply | PMS feedback
|  |  |  | Role |  | Requested to:
|  |  | Written by: Lisa Ciuffarin | AJCL
|  |  | Approved by: Federica Azzimonti | RMCL
The present document does not report handwritten signatures because the approval is electronically managed.