## Queries_20240923
Pt ID | FOLLOW UP | CRF section | QUERY | ACTION | Sponsor comment | STATUS | SITE COMMENT | Status
101/02 | 2 years FU | Radiographical evaluation | Missing X-rays | Please upload missing x-rays properly anonymized |  | PENDING |  | SOLVED
101/05 | 2 years FU | Radiographical evaluation | Missing X-rays | Please upload missing x-rays properly anonymized |  | PENDING
101/07 | 2 years FU | Radiographical evaluation | Missing X-rays | Please upload missing x-rays properly anonymized |  | PENDING |  | PENDING
101/08 | 2 years FU | Radiographical evaluation | Missing X-rays | Please upload missing x-rays properly anonymized |  | PENDING
101/11 | 2 years FU | Radiographical evaluation | Missing X-rays | Please upload missing x-rays properly anonymized |  | PENDING
101/11 | 2 years FU | Radiographical evaluation | The question "osteolysis" is not answered | Since osteolysis was evaluated as absent for all acetabular and femoral zones, please amrk this fiels as "absent" |  | PENDING
101/13 | 1 year FU | Radiographical evaluation | Visit date of x-rays is the same for 6 months and 1 year FU | Please revise this field and adjust it accordingly |  | PENDING
101/15 | 2 years FU | Radiographical evaluation | "CCD angle" field not completed | Could you please complete this field with the missing information, if available? Thanks |  | PENDING
101/15 | 2 years FU | Radiographical evaluation | The field "osteolysis femoral zone 13" was not completed | Could you please complete this field with the missing information, if available? Thanks |  | PENDING
101/17 | Adverse event 24/04/2023 |  | Causality/relationship to study device is reported as probable | Could you please review this field to see if the causality evaluation of the adverse event could be addressed differently? | Update 03.01.2024. No changes have been made to this section | PENDING
101/17 | Adverse event 24/04/2023 | Current clinical status | No updates on this adverse event since December 2023 | Could you please review the current clinical status of this adverse event? Thanks |  | PENDING
101/20 | 1 year FU | Radiographical evaluation | The field "presence of leg-length discrepancy" was not completed | Could you please complete this field with the missing information, if available? Thanks |  | PENDING
101/20 | 1 year FU | Oxford hip score | No answer reported to the question n.4 "Have you been able to put on a pair of socks, stockings, or thights?" | Could you please complete this field with the missing information, if available? Thanks |  | PENDING
101/21 | Patient data |  | The statement "Delta Revision Cup has been implanted in coupling with a competitor stem, because the stem was well osteointegrated. There was no need to remove it." should be added to the "Notes" field of the "patient data" section | Please move the sentence from the "notes" section of "batch number/expiry date" to the "notes" section of "patient data" |  | PENDING
101/21 | FU at discharge/radiographic evaluation | Radiographical evaluation | The section "osteolysis" is marked as "absent", however osteolysis is reported in 3 zones | Please revise this section and modify the section "osteolysis" from "absent" to "present" |  | PENDING
101/21 | FU 2 months/radiographic evaluation | Radiographical evaluation | Missing X-rays | Please upload missing x-rays properly anonymized |  | PENDING
101/21 | FU 6 months/radiographic evaluation | Radiographical evaluation | Missing X-rays | Please upload missing x-rays properly anonymized |  | PENDING
101/21 | FU 6 months/radiographic evaluation | Radiographical evaluation | In the section "bone remodelling/stress shielding" no answer was reported | Please revise this section and complete it with "absent" or "present" |  | PENDING
101/22 | 1 year FU | HHS | The field "absence of deformity" was not selected, however previous visits report no deformity | Could you please review this field and, in case no deformity was observed, update it accordingly? Thanks |  | PENDING
101/24 | Adverse event 12/07/2023 | Outcome of the event | Outcome of the event reported as "ongoing" | Please check if new information is available and change the outcome of the event |  | PENDING
101/25 | Patient data |  | From the intraoperative section, it appears that a competitor stem was used | Please add the statement "Delta Revision Cup has been implanted in coupling with a competitor stem, because the stem was well osteointegrated. There was no need to remove it." to the "Notes" field of "PATIENT DATA" section |  | PENDING
101/25 | Preoperative | Radiographical evaluation | Missing X-rays | Please upload missing x-rays properly anonymized |  | PENDING
101/25 | Intraoperative |  | The fields related to cup and head were not compelted | Could you please complete these fields with the missing information? Thanks |  | PENDING
101/25 | Intraoperative | Surgery data | The field acetabulum/bone grafting was completed as "NO", however the field "graft material was completed as "OTHER" | If no acetabulum bone grafting was performed, please change the field "graft material" from "other" to "-" OR If an acetabulum bone grafting was performed, please change the field "bone grafting" from "NO" to "YES" |  | PENDING
101/25 | FU at discharge | Radiographical evaluation | Missing X-rays | Please upload missing x-rays properly anonymized |  | PENDING
101/25 | 2 months FU | Radiographical evaluation | Missing X-rays | Please upload missing x-rays properly anonymized |  | PENDING
101/25 | 6 months FU | Radiographical evaluation | Missing X-rays | Please upload missing x-rays properly anonymized |  | PENDING
101/25 | 6 months FU | Radiographical evaluation | The field "INFECTION" was not completed | Please review this field and complete it with "absent" or "present" |  | PENDING
101/26 | Patient data |  | From the intraoperative section, it appears that a competitor stem was used | Please add the statement "Delta Revision Cup has been implanted in coupling with a competitor stem, because the stem was well osteointegrated. There was no need to remove it." to the "Notes" field of "PATIENT DATA" section |  | PENDING
101/26 | Preoperative | HHS | The field "public transport" was not completed | Could you please complete this field with the missing information? Thanks |  | PENDING
101/26 | Intraoperative | Batch number/expiry date | No data inserted | Please complete all fields with missing information, in particular the ones related to Delta revision cup |  | PENDING
101/26 | FU at discharge | Radiographical evaluation | The field "osteolysis" was marked as "absent", however "osteolysis acetabular zone 3" was marked as "1 mm" | Please review this field and complete it accordingly |  | PENDING
101/26 | 2 months FU | HHS | The field "shoes and socks" was not completed | Could you please complete this field with the missing information? Thanks |  | PENDING
101/27 | Patient data |  | From the intraoperative section, it appears that a competitor stem was used | Please add the statement "Delta Revision Cup has been implanted in coupling with a competitor stem, because the stem was well osteointegrated. There was no need to remove it." to the "Notes" field of "PATIENT DATA" section |  | PENDING
101/27 | Preoperative | Radiographical evaluation | Missing X-rays | Please upload missing x-rays properly anonymized |  | PENDING
101/27 | FU at discharge | Radiographical evaluation | Missing X-rays | Please upload missing x-rays properly anonymized |  | PENDING
101/27 | Adverse event 09/05/2024 |  | Outcome of the event reported as "ongoing" | Is there any update regarding this SAE? If so, could you please update the adverse event form? Thanks |  | PENDING
101/27 | Adverse event 09/05/2024 |  | This tab hasn't been validated | Could you please validate this tab? Thanks |  | PENDING
101/27 | 2 months FU | Radiographical evaluation | Missing X-rays | Please upload missing x-rays properly anonymized |  | PENDING
101/27 | 2 months FU | Radiographical evaluation/acetabular component radiolucency | The question "Is there any radiolucency in the acetabular component?" wasn't answered | Could you please answer this question? Thanks |  | PENDING
101/27 | 2 months FU | Radiographical evaluation/femoral component radiolucency | The question "Is there any radiolucency in the femoral component?" wasn't answered | Could you please answer this question? Thanks |  | PENDING
101/27 | 2 months FU | Oxford hip score | Question n. 1 "How would you describe the pain you usually have from your hip?" wasn't answered | Could you please complete this field? Thanks |  | PENDING