## 1 Patients
Facility | Id | Year of birth | Weight | Height | BMI | Gender | Race | if Other, please specify | Intensity of activity daily living | Work Status | if active worker, please specify the work | Smoking habits | Alcohol drinking habits | Is the patient taking any concomitant medication? | if Yes, please detail API and dosage | Notes | Enrolment date | Consensus date | Enroled | Enrolment notes | Status | Creation user | Creation date | Last edit user | Last edit date
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 1 | 1975 | 60 | 165 | 22.04 | Female | White |  | Sedentary | Not Working |  | No smoking | No alcohol | Yes | Nebivololum 5mg a day |  | 2021-09-14 | 2021-09-14 | Yes |  | Valid | Julia Macias | 2021-09-15 | Julia Macias | 2022-02-03
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 2 | 1945 | 69 | 170 | 23.88 | Female | White |  | Sedentary | Retired |  | Smoking, daily | No alcohol | Yes | Metoprolol, 1x50mg - Indapamidum SR 1x1,5mg - Rosuvastatinum 1x30mg - Telmisartanum 1x80mg - Acemetacinum 1x90mg | Delta Revision Cup has been - implanted in coupling with a competitor stem, because the stem was well - osteointegrated. There was no need to remove to remove it. | 2021-10-01 | 2021-10-01 | Yes |  | Valid | Julia Macias | 2021-10-13 | Julia Macias | 2022-02-03
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 4 | 1946 | 83 | 179 | 25.9 | Male | White |  | Sedentary | Retired |  | Smoking, daily | No alcohol | No |  | Delta Revision Cup has been - implanted in coupling with a competitor stem, because the stem was well - osteointegrated. There was no need to remove to remove it. | 2021-10-11 | 2021-10-11 | Yes |  | Valid | Julia Macias | 2021-10-21 | Julia Macias | 2022-02-03
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 5 | 1946 | 63 | 152 | 27.27 | Female | White |  | Missing Data | Retired |  | No smoking | No alcohol | Yes | Bisoprolol fumaras 5mg 1x1 - Amlodypinum 2,5mg 1x1 - Acidum acetylsalicylicum 75mg 1x1 |  | 2021-10-19 | 2021-10-20 | Yes |  | Valid | Julia Macias | 2021-10-21 | Julia Macias | 2021-10-21
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 6 | 1934 | 75 | 166 | 27.22 | Male | White |  | Sedentary | Retired |  | No smoking | No alcohol | Yes | Bibloc 2,5mg; Furosemidum 40mg; Simvastatinum 40mg; Omnic 0,4mg. | Delta Revision Cup has been - implanted in coupling with a competitor stem, because the stem was well - osteointegrated. There was no need to remove to remove it. | 2021-10-26 | 2021-10-26 | Yes |  | Valid | Pawel Bartosz | 2021-10-30 | Julia Macias | 2022-02-03
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 7 | 1970 | 82 | 164 | 30.49 | Female | White |  | Missing Data | Not Working |  | No smoking | No alcohol | Yes | Opipramoli dihydrochloridum 50mg 1x1, Timololum 2,5 1x1 |  | 2021-10-25 | 2021-10-25 | Yes |  | Valid | Julia Macias | 2021-11-04 | Julia Macias | 2022-02-03
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 8 | 1967 | 110 | 180 | 33.95 | Male | White |  | Sedentary | Not Working |  | No smoking | No alcohol | Yes | Xarelto 20mg, Digoxin 100mg, Actelsar HCT 80+12 mg, Lokren 20mg, Spironol 25mg, Furosemid 40mg, Grofibrat 215mg, Milurit 300mg, Emanera 20mg, Kaldyum 600mg, Siofor 500mg |  | 2021-11-11 | 2021-11-11 | Yes |  | Valid | Pawel Bartosz | 2021-11-14 | Pawel Bartosz | 2021-11-25
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 9 | 1961 | 85 | 170 | 29.41 | Male | White |  | Sedentary | Not Working |  | No smoking | No alcohol | Yes | Amlozek 5mg, Telmizek 40mg, Bioprazol 40mg | Delta Revision Cup has been - implanted in coupling with a competitor stem, because the stem was well - osteointegrated. There was no need to remove to remove it. | 2021-11-21 | 2021-11-21 | Yes |  | Valid | Pawel Bartosz | 2021-11-23 | Julia Macias | 2022-02-03
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 10 | 1946 | 80 | 175 | 26.12 | Male | White |  | Missing Data | Retired |  | No smoking | No alcohol | Yes | Atoris 20mg, Bisocard 5mg, Co-Valsacor 160+25mg, Acard 75mg |  | 2022-01-04 | 2022-01-04 | Yes |  | Valid | Pawel Bartosz | 2022-01-12 | Pawel Bartosz | 2022-01-12
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 11 | 1953 | 68 | 168 | 24.09 | Male | White |  | Normal | Not Working |  | No smoking | No alcohol | No |  |  | 2022-01-19 | 2022-01-19 | Yes |  | Valid | Julia Macias | 2022-01-28 | Julia Macias | 2022-01-28
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 12 | 1967 | 82 | 151 | 35.96 | Female | White |  | Sedentary | Not Working |  | No smoking | No alcohol | Yes | Metformini hydrochloridum 500mg 1x1 |  | 2022-02-22 |  | No |  | Valid | Julia Macias | 2022-03-09 | Julia Macias | 2022-03-09

## 2 Preoperatives
Facility | Id | Date | Affected Side | Primary diagnosis | Relevant medical history including any significant disease | Previous hip treatments or surgeries on the affected side | if Yes, please specify | Previous hip treatments or surgeries on the contralateral side | if Yes, please specify | Description of pain | Pain therapy | Is the patient affected by osteoporosis? | if Yes, please include the details of the nature, assessment and treatment of osteoporosis | Notes | Status | Creation user | Creation date | Last edit user | Last edit date
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 1 | 2021-09-14 | Left | Presence of bone stock of poor quality or inadequate for other reconstructive techniques as indicated by deficiencies of the acetabulum | hipertension | Yes | 11/2019 THR - 1/05/2021 Revision of left hip, removal of the prosthesis | No |  | Always start-up pain | NSAIDs, regularly | No |  |  | Valid | Julia Macias | 2021-09-15 | Julia Macias | 2022-02-03
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 2 | 2021-10-01 | Right | Revision of previous unsuccessful femoral head replacement, cup arthroplasty or other procedure | - | Yes | 30.11.2005r THA dx | Yes | 12.2005 THA sin | At rest | NSAIDs, regularly | No |  |  | Valid | Julia Macias | 2021-10-13 | Julia Macias | 2021-10-13
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 4 | 2021-10-12 | Left | Presence of bone stock of poor quality or inadequate for other reconstructive techniques as indicated by deficiencies of the acetabulum |  | Yes | 2006 THA sin | No |  | At rest | NSAIDs, occasionally | No |  |  | Valid | Julia Macias | 2021-10-21 | Julia Macias | 2021-10-21
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 5 | 2021-10-20 | Right | Revision of previous unsuccessful femoral head replacement, cup arthroplasty or other procedure |  | Yes | 1996- THA - 2011- revision of right hip EcoFit/Ecofit | Yes | 1996 THA | At rest | NSAIDs, occasionally | No |  |  | Valid | Julia Macias | 2021-11-18 | Julia Macias | 2021-11-24
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 6 | 2021-10-26 | Left | Revision of previous unsuccessful femoral head replacement, cup arthroplasty or other procedure | Acetabular loosening | Yes | Total hip replacement | Yes | total hip replacement | With every movement | Opiates, regularly | No |  |  | Valid | Pawel Bartosz | 2021-10-30 | Pawel Bartosz | 2021-10-30
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 7 | 2021-10-22 | Right | Presence of bone stock of poor quality or inadequate for other reconstructive techniques as indicated by deficiencies of the acetabulum | obesity | Yes | THA dx 12.08.2008 - Removal of endoprosthesis - right 20.10.2020 | Yes | 08.05.2014 THA sin - 19.04.2016 removal of endoprosthesis sin, spacer - 25.11.2016 reimplantation of endoptosthesis - 29.01.2021 removal odf endoprosthesis sin - 11.05.2021 reimplantation of endoprosthesis sin | Occasional start-up pain | None | No |  |  | Valid | Julia Macias | 2021-11-04 | Julia Macias | 2021-11-04
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 8 | 2021-11-10 | Left | Clinical management problem where arthrodesis or alternative reconstruction techniques are less likely to achieve satisfactory results | Heamatogenous hip infection. | Yes | 19.04.2021 girdle stone procedure cause infection. | No |  | At rest | Opiates, occasionally | No |  |  | Valid | Pawel Bartosz | 2021-11-14 | Pawel Bartosz | 2021-11-25
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 9 | 2021-11-21 | Left | Revision of previous unsuccessful femoral head replacement, cup arthroplasty or other procedure |  | Yes | 12.11.2012 reconstruction and osteosynthesis of acetabular posterior wall left hip, 03.02.2014 total hip replacement of left hip. | No |  | Always start-up pain | Opiates, regularly | No |  |  | Valid | Pawel Bartosz | 2021-11-23 | Pawel Bartosz | 2021-11-23
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 10 | 2022-01-04 | Right | Revision of previous unsuccessful femoral head replacement, cup arthroplasty or other procedure | Acetabular Fracture after injury | Yes | THA 2017. | No |  | With every movement | Opiates, regularly | No |  |  | Valid | Pawel Bartosz | 2022-01-12 | Pawel Bartosz | 2022-01-12
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 11 | 2022-01-19 | Left | Presence of bone stock of poor quality or inadequate for other reconstructive techniques as indicated by deficiencies of the acetabulum | THA sin 1999 - THA dx 2011 - 05-2020 revision of left hip , extraction of endoprosthesis ABG I/ABG I, greater trochanter fracture due to fall - 06-2020 revision of left hip, ORIF of greater trochanter | Yes | THA sin 1999 - THA dx 2011 - 05-2020 revision of left hip , extraction of endoprosthesis ABG I/ABG I, greater trochanter fracture due to fall - 06-2020 revision of left hip, ORIF of greater trochanter | Yes | THA sin 1999 | Occasional start-up pain | None | No |  |  | Valid | Julia Macias | 2022-01-28 | Julia Macias | 2022-01-28

## 3 Radiographical evaluation
Facility | Id | Follow UP | Data FU | X-rays date | X-rays views performedAP view | X-rays views performedLAT view | Varus/Valgus Deformity | Osteoarthritis severity | Presence of osteophytes | if Yes please specify the location | Presence of cystis | if Yes please specify the location | Sclerosis | if present, please specify the location | Other features | Femoral Offset | Contralateral Femoral Offset | CCD Angle | Contralateral CCD Angle | Leg-Length discrepancy | Notes | Status | Creation user | Creation date | Last edit user | Last edit date
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 1 | Preoperative | 2021-09-14 | 09-Sep-2021 | Performed | Performed | Neutral | Grade I | Yes | greater trochanter | Yes | acetabulum | None |  |  | 24 | 42 | 132 | 132 | 54 |  | Valid | Julia Macias | 2021-09-15 | Julia Macias | 2021-11-18
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 2 | Preoperative | 2021-10-01 | 29-Sep-2021 | Performed | Performed | Neutral | Grade I | No |  | Yes | acetabulum | None |  |  | 47 | 32 | 137 | 137 | 30 |  | Valid | Julia Macias | 2021-10-13 | Julia Macias | 2021-11-18
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 4 | Preoperative | 2021-10-12 | 11-Oct-2021 | Performed | Performed | Neutral | Grade I | No |  | Yes | acetabulum | None |  |  | 54 | 51 | 132 | 132 | 20 |  | Valid | Julia Macias | 2021-10-21 | Julia Macias | 2021-11-24
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 5 | Preoperative | 2021-10-20 | 18-Oct-2021 | Performed | Performed | Neutral | Grade II | No |  | Yes | acetabulum | None |  |  | 40 | 37 | 132 | 140 | 10 |  | Valid | Julia Macias | 2021-11-24 | Julia Macias | 2021-11-24
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 6 | Preoperative | 2021-10-26 | 26-Oct-2021 | Performed | Performed | Neutral | Grade IV | Missing Data |  | Missing Data |  | None |  |  | 56 | 60 | 135 | 135 | 12 |  | Valid | Pawel Bartosz | 2021-10-30 | Pawel Bartosz | 2021-11-25
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 7 | Preoperative | 2021-10-22 | 22-Oct-2021 | Performed | Performed | Neutral | Grade II | No |  | No |  | None |  |  | 40 | 36 | 133 | 132 | 69 |  | Valid | Julia Macias | 2021-11-04 | Pawel Bartosz | 2021-12-07
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 8 | Preoperative | 2021-11-10 | 10-Nov-2021 | Performed | Performed | Neutral | Grade I | Missing Data |  | Missing Data |  | Slight |  |  | 54 | 68 | 132 | 131 | 43 |  | Valid | Pawel Bartosz | 2021-11-14 | Pawel Bartosz | 2021-11-14
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 9 | Preoperative | 2021-11-21 | 22-Nov-2021 | Performed | Performed | Varus | Grade IV | No |  | No |  | Moderate | roof and the inner layer of the acetabulum |  | 57 | 40 | 128 | 135 | 21 |  | Valid | Pawel Bartosz | 2021-11-23 | Pawel Bartosz | 2021-11-23
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 10 | Preoperative | 2022-01-04 | 31-Dec-2021 | Performed | Performed | Neutral | Grade IV | Missing Data |  | Missing Data |  | None |  | Acetabular fracture | 50 | 47 | 135 | 146 | 29 |  | Valid | Pawel Bartosz | 2022-01-12 | Pawel Bartosz | 2022-01-12
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 11 | Preoperative | 2022-01-19 | 17-Jan-2022 | Performed | Performed | Neutral | Grade IV | No |  | No |  | None |  |  | 45 | 52 | 127 | 132 | 80 |  | Valid | Julia Macias | 2022-01-28 | Julia Macias | 2022-01-28

## 4 Intraoperatives
Facility | Id | Surgery date | Selected product | Withdrawn | Withdraw reason | Stem Type | Stem Size | Stem Cement | Stem Modularity | Cup Type | Cup Diameter | Cup Cement | Cup Liner Material | Cup Liner Size | Cup Plate | Cup Plate Diameter | Head Type | Head Material | Head Diameter | Head Size | Head Adaptor | Head Inner Material | Head Inner Size | Acetabulum Bone Stock Quality | Acetabulum Bone Grafting | Acetabulum Graft Material | Acetabulum Roof Grafting | Femur Bone Stock Quality | Femur Bone Grafting | Femur Graft Material | Notes | Status | Creation user | Creation date | Last edit user | Last edit date
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 1 | 2021-09-14 | H-34 Delta Revision | No |  | Revision | dia. 15 mm, L.140 mm | N/A | Neck h 50 mm | DELTA-REVISION | 54 mm | no | Protruded UHMWPE X-LIMA + Ti6Al4V w/ angled 20° spacer | ID 32 mm-MEDIUM | - | - | Modular | Biolox (r) Delta | 32 mm | S | - |  | - | [8 empty] | Valid | Julia Macias | 2021-09-15 | Julia Macias | 2021-11-18
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 2 | 2021-10-01 | H-34 Delta Revision | No |  | Competitor (no Lima) | - | N/A | - | DELTA-REVISION | 58 mm | no | Neutral UHMWPE X-LIMA + Ti6Al4V | ID 36 mm-LARGE | - | - | Modular | CoCrMo Taper 12/14 | 36 mm | S | - |  | - | [8 empty] | Draft | Julia Macias | 2021-10-13 | Julia Macias | 2022-02-03
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 4 | 2021-10-12 | H-34 Delta Revision | No |  | H-MAX S standard | n. 14 | N/A | - | DELTA-REVISION | 62 mm | no | Protruded UHMWPE X-LIMA + Ti6Al4V | ID 36 mm-LARGE | - | - | Modular | CoCrMo Taper 12/14 | 36 mm | S | - |  | - | [8 empty] | Valid | Julia Macias | 2021-10-21 | Julia Macias | 2022-02-03
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 5 | 2021-10-20 | H-34 Delta Revision | No |  | Revision | dia. 17 mm, L.200 mm | N/A | Lat. Neck h 80 mm | DELTA-REVISION | 58 mm | N/A | Neutral UHMWPE X-LIMA + Ti6Al4V | ID 36 mm-LARGE | - | - | Modular | Biolox (r) Delta | 36 mm | L | - |  | - | [8 empty] | Valid | Julia Macias | 2021-11-24 | Julia Macias | 2021-11-24
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 6 | 2021-10-27 | H-34 Delta Revision | No |  | Competitor (no Lima) | - | N/A | - | DELTA-REVISION | 66 mm | N/A | Protruded UHMWPE X-LIMA + Ti6Al4V w/ neutral +5 spacer | ID 32 mm-MEDIUM | - | - | Modular | CoCrMo Taper 14/16 | 32 mm | L | - |  | - | [8 empty] | Draft | Pawel Bartosz | 2021-10-30 | Pawel Bartosz | 2021-10-30
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 7 | 2021-10-26 | H-34 Delta Revision | No |  | Modulus Taper B | dia. 17 mm | no | Neck short standard Taper B | DELTA-REVISION | 58 mm | no | Protruded UHMWPE X-LIMA + Ti6Al4V w/ neutral spacer | ID 32 mm-MEDIUM | - | - | Modular | Biolox (r) Delta | 32 mm | M | - |  | - | [8 empty] | Valid | Julia Macias | 2021-11-04 | Julia Macias | 2021-11-04
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 8 | 2021-11-12 | H-34 Delta Revision | No |  | H-MAX S standard | n. 14 | N/A | - | DELTA-REVISION+TT HEMISPHERIC MODULE ECC. 12 | 58 mm | N/A | Neutral UHMWPE X-LIMA + Ti6Al4V w/ angled 20° spacer | ID 32 mm-MEDIUM | - | - | Modular | Biolox (r) Delta | 32 mm | M | - |  | - | [8 empty] | Valid | Pawel Bartosz | 2021-11-14 | Pawel Bartosz | 2021-11-14
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 9 | 2021-11-22 | H-34 Delta Revision | No |  | Competitor (no Lima) | - | N/A | - | DELTA-REVISION+TT HEMISPHERIC MODULE ECC. 12 | 58 mm | N/A | Protruded UHMWPE X-LIMA + Ti6Al4V | ID 36 mm-LARGE | - | - | Modular | Biolox (r) Delta | 36 mm | L | - |  | - | [8 empty] | Draft | Pawel Bartosz | 2021-11-23 | Pawel Bartosz | 2021-11-23
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 10 | 2022-01-10 | H-34 Delta Revision | No |  | Competitor (no Lima) | - | N/A | - | DELTA-REVISION | 54 mm | N/A | Protruded UHMWPE X-LIMA + Ti6Al4V | ID 36 mm-LARGE | - | - | Modular | Biolox (r) Delta + Ti6AI4V | 36 mm | XL | - |  | - | [8 empty] | Draft | Pawel Bartosz | 2022-01-12 | Pawel Bartosz | 2022-01-12
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 11 | 2022-01-19 | H-34 Delta Revision | No |  | Revision | dia. 18 mm, L.140 mm | no | Lat. Neck h 80 mm | DELTA-REVISION | 66 mm | no | Protruded UHMWPE X-LIMA + Ti6Al4V w/ angled 20° spacer | ID 32 mm-MEDIUM | - | - | Modular | Biolox (r) Delta | 32 mm | S | - |  | - | [8 empty] | Valid | Julia Macias | 2022-01-28 | Julia Macias | 2022-01-28

## 5 Surgery Data
Facility | Id | Surgical Approach | Anaesthesia | Surgery time (from skin to skin) | Intraoperative complications | Intraoperative haematocrit | Immediate postoperative haematocrit | Antibiotic Prophylaxis | if Yes, please specify | Antithrombotic Prophylaxis | If Yes, please specify | Antihemorrhagic Prophylaxis | if Yes, please specify | Further therapies | Bone stock quality | Bone grafting | Graft material | Bone stock quality | Bone grafting | Graft material | Notes | Status | Creation user | Creation date | Last edit user | Last edit date
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 1 | Postero-lateral | Subarachnoid | 180 | No | 44 | 36 | Yes | Vancomycin, Amikacinum | Yes | Nadroparinum | No |  |  | Porotic | Yes | Allograft chips | Porotic | No | - |  | Valid | Julia Macias | 2021-09-15 | Julia Macias | 2022-02-03
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 2 | Postero-lateral | Subarachnoid | 120 | No | 40 | 36 | Yes | Amikacin 2x1000mg, Vankomycin 1x1000mg | Yes | nadroparinum 0,4 s.c. | No |  |  | Porotic | Yes | Allograft chips | Normal | No | - |  | Valid | Julia Macias | 2021-10-13 | Julia Macias | 2021-10-13
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 4 | Postero-lateral | Subarachnoid | 155 | No | 41 | 30 | Yes | Vankomycin 2x1000mg - Biodacyn 1x1000mg | Yes | Nadroparinum calcium 0,4ml 1x1 s.c. | Yes | Acidum tranexamicum 1000mg i.v. |  | Porotic | Yes | Allograft chips | Porotic | No | - |  | Valid | Julia Macias | 2021-10-21 | Julia Macias | 2021-11-24
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 5 | Postero-lateral | General | 210 | Yes, not implant-related | 41 | 28 | Yes | Amikacinum 2x1000mg, Vankomycinum 1x1000mg i.v. | Yes | Nadroparinum 0,4 s.c. | No |  |  | Porotic | Yes | Allograft chips | Porotic | No | - |  | Valid | Julia Macias | 2021-11-24 | Julia Macias | 2021-11-24
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 6 | Postero-lateral | General | 165 | No | 32 | 23 | Yes | Cefuroxim, Amikacin. | Yes | Fraxiparine | No |  |  | Porotic | Yes | Other | Normal | No | - |  | Valid | Pawel Bartosz | 2021-11-02 | Pawel Bartosz | 2021-11-02
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 7 | Postero-lateral | Subarachnoid | 195 | No | 37 | 31 | Yes | Vankomycinum 1000mg 1x1, Amikacinum 1000mg 1x1 | Yes | Nadroparinum calcium 0,4 | Yes | Acidum tranexamicum 1000mg |  | Porotic | Yes | Other | Normal | No | - |  | Valid | Julia Macias | 2021-11-04 | Julia Macias | 2021-11-04
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 8 | Postero-lateral | Subarachnoid | 140 | No | 38 | 30 | Yes | Syntarpen, Rifampicynum | Yes | Nadroparinum | No |  |  | Porotic | No | - | Porotic | No | - |  | Valid | Pawel Bartosz | 2021-11-14 | Pawel Bartosz | 2021-11-14
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 9 | Postero-lateral | Subarachnoid | 125 | No | 47 | 39 | Yes | Cefuroxim 1,5g 3x Amikacin 1g 1x | Yes | Nadroparin 0,4mg 1x per day | Yes | Exacyl 1g before surgery and 1g 4 hours after |  | Sclerotic | No | Missing Data | Normal | Missing Data | Missing Data |  | Valid | Pawel Bartosz | 2021-11-23 | Pawel Bartosz | 2021-11-23
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 10 | Postero-lateral | Subarachnoid | 118 | No | 40 | 37 | Yes | Cefuroxim, Amikacinum. | Yes | Neoparin 40mg | Yes | Exacyl 1g |  | Normal | Yes | Other | Normal | Missing Data | - |  | Valid | Pawel Bartosz | 2022-01-12 | Pawel Bartosz | 2022-01-12
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 11 | Postero-lateral | Subarachnoid | 170 | No | 45 | 32 | Yes | Amikacinum 1000mg - Vankomycinum 2x1000mg | No | Nadroparinum calcium 0,4 | Yes | Acidum tranexamicum 2x 1000 |  | Porotic | No | Other | Porotic | No | - |  | Valid | Julia Macias | 2022-01-28 | Julia Macias | 2022-01-31

## 6 Batch number expiry date
Facility | Id | Delta revision batch number | Delta revision expiry date | Has a new Liner been implanted? | If yes and if manufactured by Lima, please specify the Liner batch number | If yes and if manufactured by Lima, please specify the Liner expiry date | If not, please specify the manufacturer and the date of the primary surgery | Has a new femoral stem been implanted? | If yes and if manufactured by Lima, please specify the stem batch number | If yes and if manufactured by Lima, please specify the stem expiry date | If not, please specify the manufacturer and the date of the primary surgery | Has a new dual mobility been implanted? | If yes and if manufactured by Lima please specify the metal liner batch number | If yes and if manufactured by Lima, please specify the metal liner expiry date | If not, please specify the manufacturer and the date of the primary surgery | Has any new spacer been used? | If yes and if manufactured by Lima, please specify the spacer batch number | If yes and if manufactured by Lima, please specify the spacer expiry date | If not, please specify the manufacturer and the date of the primary surgery | Has a new hemispheric module been implanted? | If yes and if manufactured by Lima, please specify the hemispheric module batch number | If yes and if manufactured by Lima, please specify the hemispheric module expiry date | If not, please specify the manufacturer and the date of the primary surgery | Has a new Femoral Head been implanted? | If yes and if manufactured by Lima, please specify the Femoral Head batch number | If yes and if manufactured by Lima, please specify the Femoral Head expiry date | If not, please specify the manufacturer and the date of the primary surgery | Has any new bone screw been implanted? | If yes and if manufactured by Lima, please specify the screw batch number | If yes and if manufactured by Lima, please specify the screw expiry date | If not, please specify the manufacturer and the date of the primary surgery | Has a new Plug been implanted? | If yes, pleace specify the Plug type | If Friendly Plug, please specify the diameter | If Friendly Short Plug, please specify the diameter | If yes and if manufactured by Lima, please specify the Plug expiry date | If not, please specify the manufacturer and the date of the primary surgery | Has a new Centralizer been implanted? | If yes, pleace specify the Centralizer type | If Friendly Proximal Centralizer, please specify the size | If Friendly Short Centralizer, please specify the size | If yes and if manufactured by Lima, please specify the Centralizer expiry date | If not, please specify the manufacturer and the date of the primary surgery | Notes | Status | Creation user | Creation date | Last edit user | Last edit date
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 1 | 5533.21.054 | 2024-03-31 | Yes | 5886.51.158 | 2026-06-30 |  | Yes | 3811.15.010 | 2024-03-31 |  | No |  |  |  | Yes | 5886.15.510 | 2025-02-28 |  | No |  |  |  | Yes | 5010.42.321 | 2026-05-28 |  | Yes | 8420.15.040 | 2024-07-31 |  | No | - | - | - |  |  | No | - | - | - |  |  |  | Valid | Julia Macias | 2021-09-15 | Julia Macias | 2021-11-18
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 2 | 5533.21.058 | 2024-02-29 | Yes | 5886.51.260 | 2026-07-31 |  | No |  |  | Aesculap | No |  |  |  | No |  |  |  | No |  |  |  | Yes |  |  | Aesculap | Yes | 8420.15.010 | 2026-07-31 |  | No | - | - | - |  |  | No | - | - | - |  |  |  | Valid | Julia Macias | 2021-10-13 | Julia Macias | 2021-11-18
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 4 | 5533.21.062 | 2023-10-31 | Yes | 5886.51.260 | 2026-09-30 |  | No |  |  | Biomet | No |  |  |  | No |  |  |  | No |  |  |  | Yes |  |  | Isodur | Yes | 8420.15.040 | 2026-04-30 |  | No | - | - | - |  |  | No | - | - | - |  |  |  | Valid | Julia Macias | 2021-10-21 | Julia Macias | 2021-11-24
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 5 | 5533.21.058 | 2026-05-31 | Yes | 5886.51.260 | 2026-09-30 |  | Yes | 3813.15.020 | 2026-09-30 |  | No |  |  |  | No |  |  |  | No |  |  |  | Yes | 5010.42.363 | 2026-06-30 |  | Yes | 8420.15.040 | 2026-03-31 |  | No | - | - | - |  |  | No | - | - | - |  |  |  | Valid | Julia Macias | 2021-11-24 | Julia Macias | 2021-11-24
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 6 | 5533.21.066 | 2023-09-30 | Yes | 5886.51.158 | 2026-10-31 |  | No |  |  | Aeskulap, 1996 | No |  |  |  | Yes | 5885.15.520 | 2025-02-28 |  | No |  |  |  | Yes |  |  | BioBall, Merete | Yes | 8420.15.040 | 2026-07-31 |  | No | - | - | - |  |  | No | - | - | - |  |  |  | Valid | Pawel Bartosz | 2021-11-02 | Pawel Bartosz | 2021-11-02
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 7 | 5533.21.058 | 2026-05-31 | Yes | 5886.51.158 | 2026-10-31 |  | Yes | 4310.15.050 | 2026-02-28 |  | No |  |  |  | Yes | 5886.15.510 | 2026-04-30 |  | No |  |  |  | Yes | 5010.42.322 | 2026-05-28 |  | Yes | 8420.15.020 | 2026-09.30 |  | No | - | - | - |  |  | No | - | - | - |  |  |  | Valid | Julia Macias | 2021-11-04 | Julia Macias | 2021-11-04
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 8 | 5533.21.058 | 2024-02-29 | Yes | 5885.51.158 | 2026-10-31 |  | Yes | 4250.20.140 | 2025-10-31 |  | No |  |  |  | Yes | 5886.15.510 | 2026-07-31 |  | Yes | 5533.14.580 | 2024-07-31 |  | Yes | 5010.42.322 | 2026-05-28 |  | Yes | 8420.15.050 | 2026-07-31 |  | No | - | - | - |  |  | No | - | - | - |  |  |  | Valid | Pawel Bartosz | 2021-11-14 | Pawel Bartosz | 2021-11-14
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 9 | 2108561 | 2026-09-30 | Yes | 2015509 | 2025-09-30 |  | No |  |  | Wright, 2014-02-03 | No |  |  |  | No |  |  |  | Yes | 201800136 | 2023-03-31 |  | Yes |  |  | Wright, 2014-02-03 | Yes | 2103491 | 2026-03-31 |  | No | - | - | - |  |  | No | - | - | - |  |  |  | Valid | Pawel Bartosz | 2021-11-30 | Pawel Bartosz | 2021-12-10
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 10 | 201802039 | 2023-04-30 | Yes | 2118617 | 2026-10-31 |  | No |  |  | Alloclasic stem, 2017 | No |  |  |  | No |  |  |  | No |  |  |  | Yes |  |  | Zimmer, BioloxOption, 10.01.2022 | Yes | 2120653 | 2026-11-30 |  | No | - | - | - |  |  | No | - | - | - |  |  |  | Valid | Pawel Bartosz | 2022-01-12 | Pawel Bartosz | 2022-01-12
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 11 | 201904529 | 2024-05-31 | Yes | 2126578 | 2026-12-31 |  | Yes | 2116458 | 2026-09-30 |  | No |  |  |  | No |  |  |  | No |  |  |  | Yes | 2183631 | 2026-11-30 |  | Yes | 2119380 | 2026-10-31 |  | No | - | - | - |  |  | No | - | - | - |  |  |  | Valid | Julia Macias | 2022-02-01 | Julia Macias | 2022-02-01

## 7 FU at discharge
Facility | Id | Date | Missing | Missing reason | Reason details | In range | Notes | Status | Creation user | Creation date | Last edit user | Last edit date
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 1 | 2021-09-19 | No |  |  | Yes |  | Valid | Julia Macias | 2021-09-20 | Julia Macias | 2021-11-18
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 2 | 2021-10-06 | No |  |  | Yes |  | Valid | Julia Macias | 2021-10-13 | Julia Macias | 2021-11-24
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 4 | 2021-10-13 | No |  |  | Yes |  | Valid | Julia Macias | 2021-11-24 | Julia Macias | 2021-11-24
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 5 | 2021-10-21 | No |  |  | Yes |  | Valid | Julia Macias | 2021-11-24 | Julia Macias | 2021-11-24
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 6 | 2021-11-04 | No |  |  | Yes |  | Valid | Pawel Bartosz | 2021-11-02 | Pawel Bartosz | 2021-11-10
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 7 | 2021-11-02 | No |  |  | Yes |  | Valid | Julia Macias | 2021-11-04 | Julia Macias | 2021-11-04
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 8 | 2021-11-17 | No |  |  | Yes |  | Valid | Pawel Bartosz | 2022-01-04 | Julia Macias | 2022-02-03
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 10 | 2022-01-18 | No |  |  | Yes |  | Valid | Pawel Bartosz | 2022-01-19 | Pawel Bartosz | 2022-01-19
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 11 | 2022-01-20 | No |  |  | Yes |  | Valid | Julia Macias | 2022-02-01 | Julia Macias | 2022-02-01

## 8 Radiographical Evaluation
Facility | Id | Follow UP | Data FU | X-rays date | X-rays views performedAP view | X-rays views performedLAT view | Femoral Offset | Centrum Collum Diaphyseal (CCD) Angle | Presence of Leg-Length discrepancy | if Yes, please specify | Vertical Centre of Rotation | Horizontal Centre of Rotation | Acetabular Inclination | Is there any radiolucency in the acetabular component? | RL Acetabular Zone 1 | RL Acetabular Zone 2 | RL Acetabular Zone 3 | Acetabular Component Migration | if Present, please specify | Acetabular Anteversion | Femoral Stem Positioning | Stem sizing | Is there any radiolucency in the femoral component? | RL Femoral Zone 1 | RL Femoral Zone 2 | RL Femoral Zone 3 | RL Femoral Zone 4 | RL Femoral Zone 5 | RL Femoral Zone 6 | RL Femoral Zone 7 | RL Femoral Zone 8 | RL Femoral Zone 9 | RL Femoral Zone 10 | RL Femoral Zone 11 | RL Femoral Zone 12 | RL Femoral Zone 13 | RL Femoral Zone 14 | Presence of Distal Femoral Component Migration/Subsidience | if Present, please specify | Presence of any Periprosthetic Fracture | if Present, please specify | Dislocation | if Present, please include details and location | Loosening | if Present, please include details and location | Bone remodelingCortical Hypertrophy | Bone remodelingStress Shielding | Cortical Hypertrophy details and location | Stress Shielding details and location | Osteolysis | if Present, please specifyOsteolysis Acetabular Zone 1 | if Present, please specifyOsteolysis Acetabular Zone 2 | if Present, please specifyOsteolysis Acetabular Zone 3 | if Present, please specifyOsteolysis Femoral Zone 1 | if Present, please specifyOsteolysis Femoral Zone 2 | if Present, please specifyOsteolysis Femoral Zone 3 | if Present, please specifyOsteolysis Femoral Zone 4 | if Present, please specifyOsteolysis Femoral Zone 5 | if Present, please specifyOsteolysis Femoral Zone 6 | if Present, please specifyOsteolysis Femoral Zone 7 | if Present, please specifyOsteolysis Femoral Zone 8 | if Present, please specifyOsteolysis Femoral Zone 9 | if Present, please specifyOsteolysis Femoral Zone 10 | if Present, please specifyOsteolysis Femoral Zone 11 | if Present, please specifyOsteolysis Femoral Zone 12 | if Present, please specifyOsteolysis Femoral Zone 13 | if Present, please specifyOsteolysis Femoral Zone 14 | Heterotopic Ossification | Infection | if Yes, please specify | Presence of Hardware Failure | if Present, please specify | Presence of Cysts | Presence of Osteophytes | Presence of Sclerosis Calcifications | Relevant Joint Features | Additional observations | Notes | Status | Creation user | Creation date | Last edit user | Last edit date
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 1 | FU at discharge | 2021-09-19 | 15-Sep-2021 | Performed | Performed | 32 | 132 | No |  | 67 | 42 | 50 | No | None | None | None | Absent |  | 10 | Neutral | Normal | No | None | None | None | None | None | None | None | None | None | None | None | None | None | None | Absent (<5 mm) |  | Absent | - | Absent |  | Absent |  | Absent | Absent |  |  | Absent | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | Grade 1 | Absent |  | Absent | - | Absent | Absent | Absent |  |  |  | Draft | Julia Macias | 2021-09-20 | Julia Macias | 2022-02-03
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 2 | FU at discharge | 2021-10-06 | 02-Oct-2021 | Performed | Performed | 48 | 137 | No |  | 74 | 35 | 24 | No | None | None | None | Absent |  | 20 | Neutral | Normal | No | None | None | None | None | None | None | None | None | None | None | None | None | None | None | Absent (<5 mm) |  | Absent | - | Absent |  | Absent |  | Absent | Absent |  |  | Absent | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | Grade 0 | Absent |  | Absent | - | Present | Absent | Absent |  |  |  | Draft | Julia Macias | 2021-10-13 | Julia Macias | 2022-02-03
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 4 | FU at discharge | 2021-10-13 | 13-Oct-2021 | Performed | Performed | 41 |  | Yes | 6 | 84 | 42 | 30 | No | None | None | None | Absent |  | 24 | Varus | Undersized | No | None | None | None | None | None | None | None | None | None | None | None | None | None | None | Absent (<5 mm) |  | Absent | - | Absent |  | Absent |  | Absent | Absent |  |  | Absent | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | Grade 0 | Absent |  | Absent | - | Absent | Absent | Absent |  |  |  | Valid | Julia Macias | 2021-11-24 | Julia Macias | 2022-02-03
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 5 | FU at discharge | 2021-10-21 | 21-Oct-2021 | Performed | Performed | 41 |  | No |  | 91 | 33 | 56 | No | None | None | None | Absent |  | 12 | Neutral | Normal | Yes | ≥ 4 mm | ≥ 4 mm | None | None | None | None | None | None | None | None | None | None | ≥ 4 mm | None | Absent (<5 mm) |  | Present | Type B1 | Absent |  | Absent |  | Absent | Absent |  |  | Present | None | None | None | None | None | > 2mm | None | None | None | None | None | None | None | None | None | > 2mm | None | Grade 0 |  |  | Absent | - | Absent | Absent | Absent |  |  |  | Valid | Julia Macias | 2021-11-24 | Julia Macias | 2022-02-03
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 6 | FU at discharge | 2021-11-04 | 04-Nov-2021 | Performed | Performed | 35 | 35 | No |  | 83 | 43 | 46 | No | None | None | None | Absent |  | 8 | Neutral | Normal | No | None | None | None | None | None | None | None | None | None | None | None | None | None | None | Absent (<5 mm) |  | Absent | - | Absent |  | Absent |  | Absent | Absent |  |  | Absent | [17 empty] | Grade 0 | Absent |  | Absent | - | Absent | Absent | Absent |  |  |  | Valid | Pawel Bartosz | 2021-11-10 | Pawel Bartosz | 2021-11-25
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 7 | FU at discharge | 2021-11-02 | 27-Oct-2021 | Performed | Performed | 41 | 99 | Yes | 10 | 88 | 41 | 42 | No | None | None | None | Absent |  | 13 | Neutral | Normal | No | None | None | None | None | None | None | None | None | None | None | None | None | None | None | Absent (<5 mm) |  | Absent | - | Absent |  | Absent |  | Absent | Absent |  |  | Absent | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | Grade 0 | Absent |  | Absent | - | Absent | Absent | Absent |  |  |  | Valid | Julia Macias | 2021-11-04 | Julia Macias | 2022-02-03
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 8 | FU at discharge | 2021-11-17 | 13-Dec-2021 | Performed | Performed | 46 |  | No |  | 82 | 36 | 55 |  | ≥ 4 mm | ≥1 to <2 mm | None | Absent |  | 22 | Neutral | Normal | No | - | - | - | - | - | - | - | - | - | - | - | - | - | - | Absent (<5 mm) |  | Absent | - | Absent |  | Absent |  | Absent | Absent |  |  | Absent | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | Grade 0 | Absent |  | Absent | - | Absent | Absent | Absent |  |  |  | Valid | Pawel Bartosz | 2022-01-04 | Pawel Bartosz | 2022-01-04
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 10 | FU at discharge | 2022-01-18 | 11-Jan-2022 | Performed | Performed | 51 | 135 | Yes | 2 | 72 | 35 | 25 | Yes | None | ≥3 to <4 mm | None | Absent |  | 24 | Neutral | Normal | No | - | - | - | - | - | - | - | - | - | - | - | - | - | - | Absent (<5 mm) |  | Absent | - | Absent |  | Absent |  | Absent | Absent |  |  | Absent | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | Grade 1 | Absent |  | Absent | - | Absent | Absent | Absent |  |  |  | Draft | Pawel Bartosz | 2022-01-19 | Pawel Bartosz | 2022-01-19
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 11 | FU at discharge | 2022-01-20 | 20-Jan-2022 | Performed | Performed | 48 | 99 | No |  | 70 | 43 | 44 | No | None | ≥1 to <2 mm | None | Absent |  | 29 | Neutral | Normal | No | None | None | None | None | None | None | None | None | None | None | None | None | None | None | Absent (<5 mm) |  | Absent | - | Absent |  | Absent |  | Absent | Absent |  |  | Absent | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | Grade 0 | Absent |  | Absent | - | Absent | Absent | Absent |  |  |  | Valid | Julia Macias | 2022-02-01 | Julia Macias | 2022-02-01

## 9 FU 2 Months
Facility | Id | Date | Missing | Missing reason | Reason details | In range | Notes | Status | Creation user | Creation date | Last edit user | Last edit date
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 1 | 2021-10-18 | No |  |  | Yes |  | Valid | Julia Macias | 2021-10-21 | Julia Macias | 2021-11-18
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 4 | 2021-12-20 | No |  |  | Yes |  | Valid | Julia Macias | 2021-12-30 | Julia Macias | 2021-12-30
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 5 | 2021-11-22 | No |  |  | Yes |  | Valid | Julia Macias | 2021-11-24 | Julia Macias | 2021-11-24
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 7 | 2022-01-03 | No |  |  | Yes |  | Valid | Julia Macias | 2022-01-05 | Julia Macias | 2022-01-05
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 8 | 2022-01-04 | No |  |  | Yes |  | Valid | Pawel Bartosz | 2022-01-04 | Pawel Bartosz | 2022-01-04
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 11 | 2022-03-07 | No |  |  | Yes |  | Valid | Julia Macias | 2022-03-09 | Julia Macias | 2022-03-09

## 10 Radiographical Evaluation
Facility | Id | Follow UP | Data FU | X-rays date | X-rays views performedAP view | X-rays views performedLAT view | Femoral Offset | Centrum Collum Diaphyseal (CCD) Angle | Presence of Leg-Length discrepancy | if Yes, please specify | Vertical Centre of Rotation | Horizontal Centre of Rotation | Acetabular Inclination | Is there any radiolucency in the acetabular component? | RL Acetabular Zone 1 | RL Acetabular Zone 2 | RL Acetabular Zone 3 | Acetabular Component Migration | if Present, please specify | Acetabular Anteversion | Femoral Stem Positioning | Stem sizing | Is there any radiolucency in the femoral component? | RL Femoral Zone 1 | RL Femoral Zone 2 | RL Femoral Zone 3 | RL Femoral Zone 4 | RL Femoral Zone 5 | RL Femoral Zone 6 | RL Femoral Zone 7 | RL Femoral Zone 8 | RL Femoral Zone 9 | RL Femoral Zone 10 | RL Femoral Zone 11 | RL Femoral Zone 12 | RL Femoral Zone 13 | RL Femoral Zone 14 | Presence of Distal Femoral Component Migration/Subsidience | if Present, please specify | Periprosthetic Fracture | if Present, please specify | Dislocation | if Present, please include details and location | Loosening | if Present, please include details and location | Bone remodellingCortical Hypertrophy | Bone remodellingStress Shielding | Cortical Hypertrophy details and location | Stress Shielding details and location | Osteolysis | if Present, please specifyOsteolysis Acetabular Zone 1 | if Present, please specifyOsteolysis Acetabular Zone 2 | if Present, please specifyOsteolysis Acetabular Zone 3 | if Present, please specifyOsteolysis Femoral Zone 1 | if Present, please specifyOsteolysis Femoral Zone 2 | if Present, please specifyOsteolysis Femoral Zone 3 | if Present, please specifyOsteolysis Femoral Zone 4 | if Present, please specifyOsteolysis Femoral Zone 5 | if Present, please specifyOsteolysis Femoral Zone 6 | if Present, please specifyOsteolysis Femoral Zone 7 | if Present, please specifyOsteolysis Femoral Zone 8 | if Present, please specifyOsteolysis Femoral Zone 9 | if Present, please specifyOsteolysis Femoral Zone 10 | if Present, please specifyOsteolysis Femoral Zone 11 | if Present, please specifyOsteolysis Femoral Zone 12 | if Present, please specifyOsteolysis Femoral Zone 13 | if Present, please specifyOsteolysis Femoral Zone 14 | Heterotopic Ossification | Infection | Hardware Failure | if Present, please specify | Presence of Cysts | Presence of Osteophytes | Presence of Sclerosis Calcifications | Relevant Joint Features | Additional Observations | Notes | Status | Creation user | Creation date | Last edit user | Last edit date
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 1 | FU 2 Months | 2021-10-18 | 18-Oct-2021 | Performed | Performed | 40 | 128 | No |  | 67 | 42 | 50 | No | - | - | - | Absent |  | 10 | Neutral | Normal | No | - | - | - | - | - | - | - | - | - | - | - | - | - | - | Absent (<5 mm) |  | Absent | - | Absent |  | Absent |  | Absent | Absent |  |  | Absent | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | Grade 0 | Absent | Absent | - | Absent | Absent | Absent |  |  |  | Draft | Julia Macias | 2021-10-21 | Julia Macias | 2021-11-24
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 4 | FU 2 Months | 2021-12-20 | 20-Dec-2021 | Performed | Performed | 42 |  | Yes | 6 | 93 | 37 | 35 | Yes | ≥3 to <4 mm | None | None | Absent |  | 26 | Neutral | Normal | No | None | None | None | None | None | None | None | None | None | None | None | None | None | None | Absent (<5 mm) |  | Absent | - | Absent |  | Absent |  | Absent | Absent |  |  | Present | > 2mm | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | Grade 1 | Absent | Absent | - | Absent | Absent | Absent |  |  |  | Valid | Julia Macias | 2021-12-30 | Julia Macias | 2022-02-03
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 5 | FU 2 Months | 2021-11-22 | 22-Nov-2021 | Performed | Performed | 41 |  | No |  | 80 | 33 | 54 | No | None | None | None | Absent |  | 10 | Neutral | Normal | Yes | ≥ 4 mm | ≥3 to <4 mm | None | None | None | None | None | None | None | None | None | None | ≥3 to <4 mm | None | Absent (<5 mm) |  | Absent | - | Absent |  | Absent |  | Absent | Absent |  |  | Absent | None | None | None | None | 2 mm | None | None | None | None | None | None | None | None | None | None | 2 mm | None | Grade 0 | Absent | Absent | - | Absent | Absent | Absent |  |  |  | Valid | Julia Macias | 2021-11-24 | Julia Macias | 2022-02-03
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 7 | FU 2 Months | 2022-01-03 | 03-Jan-2022 | Performed | Performed | 40 | 132 | Yes | 10 | 87 | 44 | 45 | No | None | None | None | Absent |  | 13 | Neutral | Normal | No | None | None | None | None | None | None | None | None | None | None | None | None | None | None | Absent (<5 mm) |  | Absent | - | Absent |  | Absent |  | Absent | Absent |  |  | Absent | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | Grade 0 | Absent | Absent | - | Absent | Absent | Absent |  |  |  | Draft | Julia Macias | 2022-01-05 | Julia Macias | 2022-02-03
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 8 | FU 2 Months | 2022-01-04 | 04-Jan-2022 | Performed | Performed | 48 |  | No |  | 89 | 36 | 54 | Yes | ≥ 4 mm | ≥1 to <2 mm | None | Absent |  | 19 | Neutral | Normal | No | None | None | None | None | None | None | None | None | None | None | None | None | None | None | Absent (<5 mm) |  | Absent | - | Absent |  | Absent |  | Absent | Absent |  |  | Absent | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | Grade 1 | Absent | Absent | - | Absent | Absent | Absent |  |  |  | Valid | Pawel Bartosz | 2022-01-04 | Pawel Bartosz | 2022-01-04
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 11 | FU 2 Months | 2022-03-07 | 07-Mar-2022 | Performed | Performed | 37 | 99 | No |  | 68 | 43 | 44 | Yes | ≥3 to <4 mm | None | None | Absent |  | 20 | Neutral | Normal | No | None | None | None | None | None | None | None | None | None | None | None | None | None | None | Absent (<5 mm) |  | Absent | - | Absent |  | Absent |  | Absent | Absent |  |  |  | > 2mm | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | None | Grade 1 | Absent | Absent | - | Absent | Absent | Absent |  |  |  | Valid | Julia Macias | 2022-03-09 | Julia Macias | 2022-03-09

## 11 Adverse Events V2
Facility | Id | Id AE | Report type | Initial Report Date | Report Date | Date of Onset | Date of Study Team Aware | Time team became aware (24 hr clock) | Title of clinical study | Protocol ID | Name of the healthcare facility | Name of the Principal Investigator | Name of the medical device involved | Components involved | ID number of study subject | Age | Gender | Attribution within the clinical investigation | Adverse Event (diagnosis, if known, or signs/ symptoms) | Event narrative | Admission date | Discharge date | SAE | Classification of the adverse event | Outcome of the event | End Date | Relevant concomitant drugs and date of administration | Detail all possible and suspected causes including relevant medical history | Current clinical status | Severity | Causality: relationship to study medical device | Causality: relationship to study procedure | Expectedness | Action taken | Detailed treatment | Was the device permanently removed? | Device removal date | Attachments: Relevant Medical History | Attachments: Relevant Medical Records | Attachments: Laboratory Results | Attachments: Imaging Methods (e.g., X-ray, CT-scan) | Attachments: Other | Submitter | Name of submitter | Notes | Status | Creation user | Creation date | Last edit user | Last edit date
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 5 | 919 | Initial | 2022-02-03 | 2022-02-03 | 2021-10-20 | 2021-10-20 | 00:00 | DELTA Revision study | H-34 | Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | Jerzy Białecki | Revision Hip /Anca | Stem17mm/200mm | 101 - 5 | 76 | Female | Treatment Group | Intraoperative fracture of femur shaft | The femur shaft was weakened beacuse of previous use of metal loop; | 2021-10-18 | 2021-10-27 | Yes | Hospitalization or prolongation of hospitalization | Ongoing |  |  | The femur shaft was weakened beacuse of previous use of metal loop; 25 years ago THA of both hips, 2011- revision of right hipEcofit; | On the first control visit 22 Nov 2021 patient is walking with 2 crutches; | Severe | Not Related | Not Related | Anticipated | Other intraoperative reduction and fixation of the fracture |  | No |  | None | None | None | None | None | Investigator | Julia Macias |  | Draft | Julia Macias | 2022-02-03 | Julia Macias | 2022-02-03
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 9 | 869 | Initial & Final | 2021-12-07 | 2021-12-16 | 2021-12-01 | 2021-12-01 | 08:00 | DELTA Revision study | H-34 | Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | Jerzy Białecki | Delta Revision Cup | Delta Revision Cup, Hemispherical module, Bone screws, insert | 101 - 9 | 60 | Male | Treatment Group | Cup loosening | Early postoperative cup loosening, | 2021-11-19 | 2021-12-10 | Yes | Medical or surgical intervention required to prevent any of the above | Ongoing |  | None | Probable cause is technical mistake at first operation with Delta Revision implantation. Too proximal cup implantation and not sufficient cup hook stabilization at the ischial bone. Second cause could be wrong position of stable stem, various position in femur. | Patient undergone revision surgery at 2021-12-03, with cup and stem reimplantation. | Severe | Not Related | Not Related | N/A | Not pharmacological | Revision surgery with cup and stem removal. Reimplantation Trident Multihole cup with augment and Restoration stem. | Yes | 2021-12-03 | None | None | None | Available | None | Investigator | Pawel Bartosz |  | Valid | Pawel Bartosz | 2021-12-07 | Pawel Bartosz | 2021-12-16
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 10 | 905 | Initial | 2022-01-19 | 2022-01-19 | 2022-01-14 | 2022-01-14 | 08:51 | DELTA Revision study | H-34 | Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | Jerzy Białecki | N/A | N/A | 101 - 10 | 76 | Male | Treatment Group | Dyspnoea, fluid collection in lungs | Chronic heart failure exacerbation | 2021-12-30 | 2022-01-18 | Yes | Hospitalization or prolongation of hospitalization | Ongoing |  | Furosemid 40mg 2xday from 14.01.2022. | Chronic heart failure | Good | Moderate | Not Related | Not Related | N/A | Pharmacological |  | No |  | None | None | None | None | None | Investigator | Pawel Bartosz |  | Draft | Pawel Bartosz | 2022-01-19 | Pawel Bartosz | 2022-01-19

## 12 Score HHS
Facility | Id | Follow UP | Data FU | Pain | Stairs | Shoes and socks | Sitting | Public transportation | Limp | Walking support | Distance walked | Fixed abduction less than 10 degrees | Flexion contracture less than 30 degrees | Fixed internal rotation (in extension) less than 10 degrees | Leg length discrepancy less than 1,25 inches (3,2 centimeters) | Flexion | Extension | Abduction | Adduction | External rotation | Internal rotation | Total Score | Total Score Description | Notes | Status | Creation user | Creation date | Last edit user | Last edit date
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 1 | Preoperative | 2021-09-14 | 0 | 1 | 0 | 0 | 0 | 5 | 0 | 2 | No | No | No | No | 90 | 0 | 35 | 20 | 30 | 20 | 12 | Very poor |  | Valid | Julia Macias | 2021-09-15 | Julia Macias | 2021-09-15
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 1 | FU 2 Months | 2021-10-18 | 30 | 2 | 0 | 3 | 0 | 8 | 0 | 5 | Yes | Yes | Yes | Yes | 100 | 0 | 15 | 15 | 15 | 25 | 56 | Very poor |  | Valid | Julia Macias | 2021-11-24 | Julia Macias | 2021-11-24
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 2 | Preoperative | 2021-10-01 | 10 | 1 | 2 | 5 | 0 | 5 | 0 | 2 | Yes | Yes | Yes | Yes | 90 | 0 | 30 | 15 | 35 | 15 | 33 | Very poor |  | Valid | Julia Macias | 2021-10-13 | Julia Macias | 2021-10-13
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 4 | Preoperative | 2021-10-12 | 20 | 2 | 2 | 5 | 0 | 5 | 3 | 5 | Yes | Yes | Yes | Yes | 100 | 0 | 30 | 15 | 20 | 15 | 50 | Very poor |  | Valid | Julia Macias | 2021-10-21 | Julia Macias | 2021-10-21
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 4 | FU 2 Months | 2021-12-20 | [8 empty] | Yes | Yes | Yes | Yes | 100 | 0 | 20 | 10 | 10 | 10 | 8 | Very poor |  | Draft | Julia Macias | 2021-12-30 | Julia Macias | 2021-12-30
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 5 | Preoperative | 2021-10-20 | 20 | 2 | 2 | 5 | 0 | 5 | 3 | 5 | Yes | Yes | Yes | Yes | 100 | 0 | 30 | 15 | 20 | 15 | 50 | Very poor |  | Valid | Julia Macias | 2021-11-18 | Julia Macias | 2021-11-18
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 5 | FU 2 Months | 2021-11-22 | 30 | 2 | 2 | 5 | 0 | 5 | 0 | 2 | Yes | Yes | Yes | Yes | 80 | 0 | 10 | 20 | 20 | 30 | 54 | Very poor |  | Valid | Julia Macias | 2021-11-24 | Julia Macias | 2021-11-24
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 6 | Preoperative | 2021-10-26 | 30 | 0 | 0 | 5 | 0 | 5 | 3 | 0 | Yes | Yes | Yes | Yes | 80 | 0 | 30 | 10 | 10 | 10 | 51 | Very poor |  | Valid | Pawel Bartosz | 2021-10-30 | Pawel Bartosz | 2021-10-30
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 7 | Preoperative | 2021-10-22 | 20 | 2 | 0 | 5 | 0 | 0 | 2 | 8 | Yes | Yes | Yes | No | 90 | 0 | 15 | 20 | 30 | 20 | 41 | Very poor |  | Valid | Julia Macias | 2021-11-04 | Julia Macias | 2021-11-04
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 7 | FU 2 Months | 2022-01-03 | 44 | 4 | 2 | 5 | 0 | 8 | 3 | 5 | Yes | Yes | Yes | Yes | 110 | 0 | 25 | 15 | 25 | 20 | 80 | Good |  | Valid | Julia Macias | 2022-01-05 | Julia Macias | 2022-01-05
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 8 | Preoperative | 2021-11-10 | 10 | 1 | 4 | 3 | 1 | 0 | 0 | 11 | Yes | Yes | Yes | No | 110 | 0 | 30 | 20 | 40 | 30 | 35 | Very poor |  | Valid | Pawel Bartosz | 2021-11-14 | Pawel Bartosz | 2021-11-14
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 8 | FU 2 Months | 2022-01-04 | 44 | 1 | 2 | 5 | 1 | 0 | 2 | 11 | Yes | Yes | Yes | Yes | 90 | 0 | 30 | 10 | 10 | 10 | 74 | Fair |  | Valid | Pawel Bartosz | 2022-01-04 | Pawel Bartosz | 2022-01-04
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 9 | Preoperative | 2021-11-21 | 0 | 1 | 2 | 3 | 1 | 0 | 0 | 2 | Yes | Yes | Yes | Yes | 90 | 0 | 20 | 10 | 10 | 5 | 17 | Very poor |  | Valid | Pawel Bartosz | 2021-11-23 | Pawel Bartosz | 2021-11-23
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 10 | Preoperative | 2022-01-04 | 0 | 0 | 2 | 5 | 0 | 0 | 0 | 5 | Yes | Yes | Yes | Yes | 100 | 0 | 30 | 20 | 20 | 0 | 20 | Very poor |  | Valid | Pawel Bartosz | 2022-01-12 | Pawel Bartosz | 2022-01-12
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 11 | Preoperative | 2022-01-19 | 20 | 2 | 2 | 3 | 1 | 0 | 3 | 11 | Yes | Yes | Yes | No | 90 | 0 | 20 | 30 | 15 | 5 | 46 | Very poor |  | Valid | Julia Macias | 2022-01-28 | Julia Macias | 2022-01-28
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 11 | FU 2 Months | 2022-03-07 | 20 | 2 | 0 | 3 | 0 | 11 | 3 | 5 | Yes | Yes | Yes | Yes | 85 | 0 | 25 | 30 | 25 | 15 | 52 | Very poor |  | Valid | Julia Macias | 2022-03-09 | Julia Macias | 2022-03-09

## 13 Score OHS
Facility | Id | Follow UP | Data FU | Question 1 | Question 2 | Question 3 | Question 4 | Question 5 | Question 6 | Question 7 | Question 8 | Question 9 | Question 10 | Question 11 | Question 12 | Total Score | Total Score Description | Notes | Status | Creation user | Creation date | Last edit user | Last edit date
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 1 | Preoperative | 2021-09-14 | 0 | 2 | 2 | 0 | 0 | 2 | 1 | 0 | 0 | 4 | 1 | 4 | 16 | Poor |  | Valid | Julia Macias | 2021-09-15 | Julia Macias | 2021-09-15
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 1 | FU 2 Months | 2021-10-18 | 2 | 2 | 2 | 2 | 1 | 2 | 2 | 2 | 3 | 4 | 2 | 2 | 26 | Poor |  | Valid | Julia Macias | 2021-11-24 | Julia Macias | 2021-11-24
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 2 | Preoperative | 2021-10-01 | 1 | 2 | 0 | 1 | 1 | 1 | 1 | 1 | 0 | 2 | 0 | 0 | 10 | Poor |  | Valid | Julia Macias | 2021-10-13 | Julia Macias | 2021-10-13
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 4 | Preoperative | 2021-10-12 | 1 | 2 | 1 | 2 | 2 | 2 | 2 | 2 | 1 | 2 | 2 | 4 | 23 | Poor |  | Valid | Julia Macias | 2021-10-21 | Julia Macias | 2021-10-21
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 5 | Preoperative | 2021-10-20 | 1 | 2 | 1 | 2 | 2 | 2 | 2 | 2 | 1 | 2 | 2 | 4 | 23 | Poor |  | Valid | Julia Macias | 2021-11-18 | Julia Macias | 2021-11-18
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 5 | FU 2 Months | 2021-11-22 | 2 | 3 | 3 | 3 | 3 | 4 | 3 | 3 | 3 | 4 | 3 | 2 | 36 | Good |  | Valid | Julia Macias | 2021-11-24 | Julia Macias | 2021-11-24
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 6 | Preoperative | 2021-10-26 | 2 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 4 | 0 | 1 | 10 | Poor |  | Valid | Pawel Bartosz | 2021-10-30 | Pawel Bartosz | 2021-10-30
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 7 | Preoperative | 2021-10-22 | 1 | 4 | 3 | 0 | 1 | 4 | 3 | 3 | 0 | 3 | 2 | 4 | 28 | Fair |  | Valid | Julia Macias | 2021-11-04 | Julia Macias | 2021-11-04
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 7 | FU 2 Months | 2022-01-03 | 4 | 4 | 4 | 2 | 3 | 4 | 3 | 4 | 3 | 4 | 4 | 4 | 43 | Excellent |  | Valid | Julia Macias | 2022-01-05 | Julia Macias | 2022-01-05
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 8 | Preoperative | 2021-11-10 | 1 | 3 | 3 | 4 | 0 | 4 | 3 | 1 | 0 | 3 | 1 | 0 | 23 | Poor |  | Valid | Pawel Bartosz | 2021-11-14 | Pawel Bartosz | 2021-11-14
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 8 | FU 2 Months | 2022-01-04 | 4 | 2 | 3 | 2 | 1 | 4 | 4 | 4 | 1 | 3 | 4 | 4 | 36 | Good |  | Valid | Pawel Bartosz | 2022-01-04 | Pawel Bartosz | 2022-01-04
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 9 | Preoperative | 2021-11-21 | 1 | 2 | 3 | 1 | 1 | 0 | 2 | 2 | 0 | 0 | 2 | 0 | 14 | Poor |  | Valid | Pawel Bartosz | 2021-11-23 | Pawel Bartosz | 2021-11-23
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 10 | Preoperative | 2022-01-04 | 0 | 1 | 0 | 3 | 2 | 0 | 0 | 1 | 0 | 4 | 2 | 0 | 13 | Poor |  | Valid | Pawel Bartosz | 2022-01-12 | Pawel Bartosz | 2022-01-12
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 11 | Preoperative | 2022-01-19 | 1 | 4 | 1 | 2 | 4 | 2 | 3 | 2 | 1 | 1 | 2 | 1 | 24 | Poor |  | Valid | Julia Macias | 2022-01-28 | Julia Macias | 2022-02-03
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 11 | FU 2 Months | 2022-03-07 | 1 | 4 | 3 | 0 | 0 | 3 | 3 | 3 | 4 | 1 | 2 | 0 | 24 | Poor |  | Valid | Julia Macias | 2022-03-09 | Julia Macias | 2022-03-09

## 14 Explants
Facility | Id | Explant date | Stem Explanted | Cup Explanted | Cup Liner Explanted | Cup Plate Explanted | Head Explanted | Head Adaptor Explanted | Notes | Status | Creation user | Creation date | Last edit user | Last edit date
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 9 | 2021-12-03 | Yes | Yes | Yes | No | Yes | No |  | Valid | Pawel Bartosz | 2021-12-07 | Pawel Bartosz | 2021-12-07

## 15 Reimplants
Facility | Id | Surgery date | Selected product | Stem Type | Stem Size | Stem Cement | Stem Modularity | Cup Type | Cup Diameter | Cup Cement | Cup Liner Material | Cup Liner Size | Cup Plate | Cup Plate Diameter | Head Type | Head Material | Head Diameter | Head Size | Head Adaptor | Head Inner Material | Head Inner Size | Acetabulum Bone Stock Quality | Acetabulum Bone Grafting | Acetabulum Graft Material | Acetabulum Roof Grafting | Femur Bone Stock Quality | Femur Bone Grafting | Femur Graft Material | Notes | Status | Creation user | Creation date | Last edit user | Last edit date
Samodzielny Publiczny Szpital Kliniczny im. Prof. Adama Grucy CMKP | 9 | 2021-12-03 | H-34 Delta Revision | Competitor (no Lima) | - | N/A | - | DELTA-REVISION+TT HEMISPHERIC MODULE ECC. 12 | 58 mm | N/A | - | - | - | - | Modular | Biolox (r) delta | 36 mm | L | - | - | - | [8 empty] | Valid | Pawel Bartosz | 2021-12-09 | Pawel Bartosz | 2021-12-09